PQL II  (from Help & etc.)

### VIEWING TRACES

To View seismic trace files:

- specify Trace files on the execution command line,  or 2) specify Trace files in a Sort File (a list of data files, one trace per line), or 3) select Trace files via the TRACES File Selector within pql.

On the command line, Trace files may be specified as:

pql2 [-h] [TRACES | -s sortFile]

===========================================================================

## DISPLAY LAYOUT

SIDEBAR

On left side of display - containing various action buttons and display settings specific to the screen currently being displayed.  Contents of the sidebar change according to the SCREEN TAB currently selected.

SCREEN TABS

Across top of display - defining the screens available for data viewing.  Selecting a tab displays the desired screen.

STATUS BAR

Across bottom of display - providing an area to display messages to the user.

DATA DISPLAY

In middle of display - displaying the graphical output of PQL II.

******************************************************************************

MOUSE Functions

All mouse functions throughout PQL are executed with a single (left) mouse CLICK plus (possible) modifier keys: SHIFT, CTRL, and ALT.  Each screen provides the Mouse Tips popup.

Mouse Tips:

Within PLOT Region:

Vertical Line:  CLICK

ZOOM In:       CLICK + DRAG RIGHT

ZOOM Out:    CLICK + DRAG LEFT

Data Point(s):  CTRL + CLICK

Scan Data Points: CTRL + CLICK + DRAG

Define Pick: PICK# SHIFT + CLICK

Define Pick Error: PICK# SHIFT + ALT + CLICK

Within LABEL Region (in Overlay Mode):

Bring Trace to Top:  CLICK

Within Bottom AXIS Region:

Jump Left:  CLICK (left of selection)

Jump Right: CLICK (right of selection)

Move to Point:  SHIFT + CLICK

Scroll WIndow: CLICK + DRAG (on selection(

****************************************************************

Helpful Hints:

If you do not know ‘where’ you are in the Magnified Trace, select the

Split  Tab to see which portion of the original trace is the current Magnify Window;

it is marked by Vertical lines.  You can reposition those vertical markers, if  you wish.

Controls & Defaults: Try different settings; ‘Set Defaults’ for your favorites

Hint: To get good plots of data, set all backgrounds to White  = #FFFFFF

FUNCTIONAL FEATURES

MULTIPLE FILE FORMATS

Auto-detection of seismic data file formats AH, SEGY, SAC, NANO, and mini-SEED with simultaneous display

EITHER ENDIAN FORMATS

Auto-detection of either endian-type file by PQL II running on either endian-type machine

SPLIT SCREEN

Allowing viewing of entire trace, magnification, and transformation screens simultaneously

HEADER DISPLAY

Header and other trace-specific information listed in table format

SORTING

Full sorting capabilities against multiple criteria

PICKING

Picking capabilities allowing up to 10 user-defined Picks, writing all picks to user-defined file, with optional KEYWORDS and COMMENTARY output allowing for further description of the Picks themselves

GAP/OVERLAP DETECTION

For mini-SEED trace files, automatic GAP and OVERLAP detection and display

MAGNIFICATION

Magnify specific portions of trace files for closer viewing with full ZOOMing abilities

FFT TRANSFORMATION

Transform specific protions of trace files for further analysis

FILTERING

Application of an IIR High and/or Low Pass Filter with user-defined number of Poles and Cutoff Frequencies

MULTIPLE DISPLAY MODES

Several possibilites to display traces, such as:

Time Axis in Relative or Absolute Time

Amplitude Axis Scaling by individual trace or all traces on display

COUNTS or VOLTS

Overlay mode of traces using user-definable overlay colors

PRINTING

Postscript output to either a printer, a file, or both

**************************************************************************************

SCREEN TABS

TRACE

Displays seismic trace files in their entirety.

MAGNIFY

Displays the selected portion of the currently selected trace files.

SPECTRA

Displays the FFT (fast fourier transform) of the selected portion of the currently selected trace files.

SPLIT

Displays 2 or 3 split screens, each containing one of TRACE, MAGNIFY, or SPECTRA display data.  Useful when wanting to see the data of the screens simultaneously.

HEADERS

Displays various header data and other information of the trace files.  See the HEADERS Tab of the Control Panel for a complete list of information displayed here.