## Sheet1
Column1 | Column2 | Column3 | Column4 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column17 | Column18 | Column182 | Column19 | Column21 | Column22 | Column23
OBS # | SIO/WHOI | Data Logger# | Acoustic Unit# | LAT (DM) |  | LON (DM) |  | LAT (DD) | LON (DD) | WATER DEPTH (m) |  | x | y | dx (m) | dy (m) | RMS (sec)
|  |  |  | Degree | Minute | Degree | Minute
101 | SIO | SP38 | 24 | 36 | 38.0018 | 25 | 32.5487 | 36.6334 | 25.5425 | 458.31 |  | 22.6445 | 17.4218 | -38.503 | -1.843 | 0.004364
102 | SIO | SP73 | 148 | 36 | 36.2588 | 25 | 28.5314 | 36.6043 | 25.4755 | 423.65 | Emilie 6/16/16: Requested SIO to apply time drift correction At time of the first shot, The OBS was early by ~1 ms and continued to get earlier by 6 ms per day. The ~1 ms offset is with respect to the first shot instance which I have as epoch time 1.448256844930804e+09. | 15.8372 | 16.9988 | -62 | -74 | 0.020495
103 | WHOI | 0119 | D03 | 36 | 33.7468 | 25 | 21.867 | 36.5624 | 25.3645 | 303.74 |  | 4.931 | 17.1233 | -12.558 | -14.741 | 0.0054997
104 | SIO | SP202 | 90 | 36 | 35.3096 | 25 | 31.149 | 36.5885 | 25.5191 | 415.28 |  | 18.6749 | 13.8152 | 14.3 | 3.9996 | 0.0030059
105 | WHOI | 0214 | D60 | 36 | 33.6892 | 25 | 27.2521 | 36.5615 | 25.4542 | 396.86 |  | 12.1065 | 13.5956 | -26.715 | 4.0076 | 0.0050213
106 | SIO | SP20 | 80 | 36 | 32.427 | 25 | 23.7521 | 36.5404 | 25.3959 | 352.56 |  | 6.3954 | 13.6967 | -27.605 | -25.206 | 0.0030606
107 | SIO | SP93 | 77 | 36 | 30.8875 | 25 | 19.8541 | 36.5148 | 25.3309 | 198.17 | Babcock 5/2/2016: the time stamp in data headers did not increment properly, possibly a bad data sector. There is reasonable hope that we can identify where the error occurred and correct.Babcock 5/3/2016: I do believe that we will be able to provide a fully time rectified data set (from day 327 onward). It appears as if there were a few bad data sectors near the end of day 326, and a counter that increments the hour mark in the time stamp was not incremented properly. I talked to our data person Jun, and we think we can re-write the header time stamps to correct. I have included a comparison plot for sites 114, 107, and 106 where found a common earthquake event, which verifies almost exactly a 1-hour offset for site 107.
108 | WHOI | 0238 | D40 | 36 | 28.2888 | 25 | 13.551 | 36.4715 | 25.2259 | 127.77 |  | -10.6051 | 13.3477 | -10.574 | -9.2991 | 0.0036186
109 | SIO | 13010 | 40 | 36 | 34.7334 | 25 | 34.6888 | 36.5789 | 25.5781 | 454.8 |  | 22.9685 | 10.6079 | 7.8655 | 21.565 | 0.0025457
110 | WHOI | 0234 | D51 | 36 | 33.6453 | 25 | 32.3412 | 36.5608 | 25.539 | 381 |  | 18.9401 | 10.2726 | 0.93984 | 8.8239 | 0.004695
112 | SIO | SP17 | 55 | 36 | 31.494 | 25 | 26.5232 | 36.5249 | 25.4421 | 342.61 |  | 9.4105 | 10.3812 | 6.6362 | -4.2099 | 0.0025391
113 | SIO | SP201 | 64 | 36 | 30.2992 | 25 | 23.2602 | 36.505 | 25.3877 | 242.8 |  | 4.0681 | 10.4811 | 4.0869 | 2.8643 | 0.0043994
114 | SIO | SP85 | 87 | 36 | 29.5512 | 25 | 20.6198 | 36.4925 | 25.3437 | 142.56 |  | -0.10399 | 10.9158 | -20.88 | -6.019 | 0.0043172
115 | WHOI | 249 | D62 | 36 | 27.5213 | 25 | 16.727 | 36.4587 | 25.2788 | 186.61 |  | -6.9331 | 10.035 | 6.3625 | 5.1116 | 0.0070977
116 | SIO | SP21 | 1 | 36 | 25.9812 | 25 | 12.5412 | 36.433 | 25.209 | 328.49 | Anchor would not release, left on seafloor. Babcock 5/2/2016: OBS lost. No current plans for recovery
117 | WHOI | 0212 | D15 | 36 | 24.0981 | 25 | 7.653 | 36.4016 | 25.1275 | 480.27 |  | -21.8978 | 10.1762 | -15.278 | 17.52 | 0.0024976
118 | SIO | SP86 | 30 | 36 | 21.6251 | 25 | 1.2423 | 36.3604 | 25.0207 | 527.21 |  | -32.5043 | 10.1657 | -15.519 | -9.6549 | 0.006918
119 | SIO | 13016 | 60 | 36 | 39.2218 | 25 | 51.7848 | 36.6537 | 25.8631 | 710 |  | 49.5161 | 7.2363 | 9.7842 | 1.3507 | 0.0060444
120 | SIO | 13035 | 67 | 36 | 37.8458 | 25 | 48.5995 | 36.6308 | 25.81 | 716 |  | 44.121 | 6.9277 | -13.536 | -20.276 | 0.0030389
121 | WHOI | 265 | D49 | 36 | 36.1358 | 25 | 43.1342 | 36.6023 | 25.7189 | 163.75 |  | 35.4206 | 7.553 | -9.3944 | -1.383 | 0.0058839
122 | SIO | 13005 | 02 | 36 | 34.7637 | 25 | 40.1818 | 36.5794 | 25.6697 | 202 |  | 30.3603 | 7.1218 | -11.129 | -13.271 | 0.0061164
123 | WHOI | 3167 | D63 | 36 | 33.2523 | 25 | 36.3706 | 36.5542 | 25.6062 | 268.6 |  | 24.0305 | 7.031 | -15.005 | -2.2945 | 0.004494
124 | SIO | SP203 | 58 | 36 | 31.7509 | 25 | 32.5839 | 36.5292 | 25.5431 | 365 |  | 17.7547 | 6.934 | -4.1783 | -3.7123 | 0.0026585
125 | SIO | 13024 | 31 | 36 | 29.7543 | 25 | 27.2459 | 36.4959 | 25.4541 | 299.29 |  | 9.1476 | 6.9135 | 158.36 | -98.156 | 0.0046516
126 | SIO | 13028 | 25 | 36 | 25.2045 | 25 | 15.4783 | 36.4201 | 25.258 | 288.01 | Babcock 5/2/2016: the SeaScan clock performed very badly. It turns out that there was a clock drift of >24 seconds over the duration of the deployment. We will re-cut the data with the large drift and forward, but do not have confidence that there or no other smaller timing inconsistencies. You can use are your own discretion. Babcock 5/3/2016: the SeaScan clock is not performing to spec, it has already been sent back to the manufacturer. Again, using a common event I did verify a clock offset on the order of ~27 seconds (see included plot). We will recut the data for this site, but you must use your own discretion on how you use this data.
127 | WHOI | 0260 | D21 | 36 | 23.6315 | 25 | 11.6116 | 36.3939 | 25.1935 | 422.42 |  | -16.9439 | 6.8625 | -10.806 | 38.623 | 0.0033807
128 | SIO | SP95 | 47 | 36 | 23.097 | 25 | 9.8517 | 36.385 | 25.1642 | 462.37 |  | -19.7481 | 7.0956 | -19.382 | 29.097 | 0.0041854
129 | SIO | SP117 | 98 | 36 | 22.2408 | 25 | 7.9231 | 36.3707 | 25.1321 | 497.9 | Timebreak and buffer errors to be processed at SIO. Babcock 5/2/2016: CF card issues, data and timing not accurate — unlikely to recover any data
130 | SIO | SP56 | 97 | 36 | 21.4377 | 25 | 5.9108 | 36.3573 | 25.0985 | 506.1 |  | -26.3864 | 6.8764 | -25.299 | 35.494 | 0.0019136
131 | SIO | SP75 | 150 | 36 | 20.6573 | 25 | 4.0145 | 36.3443 | 25.0669 | 518.12 |  | -29.5821 | 6.7591 | -43.338 | -5.2537 | 0.0029763
132 | SIO | SP67 | 61 | 36 | 19.1463 | 25 | 0.1034 | 36.3191 | 25.0017 | 529.11 |  | -36.0432 | 6.7348 | -28.499 | -40.35 | 0.0034884
133 | SIO | SP71 | 102 | 36 | 18.2582 | 24 | 57.5721 | 36.3043 | 24.9595 | 522.6 |  | -40.1309 | 6.9313 | 3.6065 | -3.3858 | 0.0033344
134 | SIO | SP55 | 73 | 36 | 17.1419 | 24 | 54.8198 | 36.2857 | 24.9137 | 517 |  | -44.7218 | 6.8809 | 14.312 | 21.682 | 0.0063051
135 | SIO | 13030 | 82 | 36 | 35.6039 | 25 | 46.8355 | 36.5934 | 25.7806 | 703.63 |  | 39.9419 | 4.2992 | -46.208 | -11.281 | 0.002545
136 | SIO | 13011 | 95 | 36 | 32.6858 | 25 | 39.1893 | 36.5448 | 25.6532 | 327 |  | 27.3872 | 4.3119 | -0.58353 | 24.749 | 0.0058447
137 | SIO | 13015 | 71 | 36 | 31.2361 | 25 | 35.3571 | 36.5206 | 25.5893 | 327.3 |  | 21.0629 | 4.3123 | -17.559 | 7.9019 | 0.0041443
138 | WHOI | 0247 | D32 | 36 | 29.7609 | 25 | 31.4387 | 36.496 | 25.524 | 343.29 |  | 14.6478 | 4.3459 | 12.672 | 6.9528 | 0.0031318
139 | WHOI | 0126 | D16 | 36 | 28.3669 | 25 | 27.9562 | 36.4728 | 25.4659 | 277.83 |  | 8.8621 | 4.2129 | 22.591 | -22.288 | 0.0025473
140 | WHOI | 220 | D55 | 36 | 26.2312 | 25 | 22.6807 | 36.4372 | 25.378 | 382.6 |  | 0.026957 | 4.0582 | -10.97 | 12.285 | 0.0058864
141 | SIO | SP200 | 99 | 36 | 24.558 | 25 | 18.4484 | 36.4093 | 25.3075 | 70.17 |  | -6.945 | 3.9407 | 48.592 | -27.537 | 0.003481
142 | SIO | SP206 | 94 | 36 | 24.0986 | 25 | 16.5667 | 36.4016 | 25.2761 | 263.45 |  | -9.8945 | 4.4292 | -1.6018 | 17.987 | 0.0018744
143 | SIO | 13007 | 123 | 36 | 23.1168 | 25 | 14.7505 | 36.3853 | 25.2458 | 355.45 |  | -13.1078 | 3.949 | 14.54 | 9.0728 | 0.0044743
144 | SIO | SP205 | 113 | 36 | 22.2657 | 25 | 11.98 | 36.3711 | 25.1997 | 432.41 |  | -17.5397 | 4.3236 | -7.8077 | 19.734 | 0.0049759
145 | SIO | 13017 | 44 | 36 | 21.4183 | 25 | 9.8859 | 36.357 | 25.1648 | 476.5 |  | -21.0189 | 4.2743 | 9.9768 | 34.632 | 0.0026026
146 | WHOI | 0211 | D44 | 36 | 20.9496 | 25 | 8.7187 | 36.3492 | 25.1453 | 492.89 |  | -22.9694 | 4.2533 | 5.8712 | 42.813 | 0.0032799
147 | WHOI | 0295 | D09 | 36 | 20.146 | 25 | 6.6377 | 36.3358 | 25.1106 | 511.62 |  | -26.4344 | 4.2467 | -14.081 | 33.328 | 0.0026162
148 | WHOI | 0244 | D35 | 36 | 18.6784 | 25 | 3.0962 | 36.3113 | 25.0516 | 537.7 |  | -32.3739 | 3.998 | -9.3222 | -56.476 | 0.0023079
149 | SIO | SP63 | 105 | 36 | 18.159 | 25 | 1.641 | 36.3026 | 25.0273 | 535 |  | -34.7326 | 4.1019 | 7.6429 | -28.128 | 0.0028617
150 | WHOI | 0118 | D04 | 36 | 17.159 | 24 | 59.1489 | 36.286 | 24.9858 | 520.5 |  | -38.8991 | 4.0596 | -0.90034 | -17.045 | 0.0027582
151 | WHOI | 3165 | D02 | 36 | 16.0771 | 24 | 56.141 | 36.268 | 24.9357 | 517.62 |  | -43.832 | 4.2062 | -15.066 | -17.69 | 0.0021431
152 | SIO | SP13 | 19 | 36 | 14.9802 | 24 | 53.1091 | 36.2497 | 24.8852 | 492.47 | CF card write error - likely no data. Babcock 5/2/2016: CF card issues, data and timing not accurate — unlikely to recover any data
153 | WHOI | 120 | D11 | 36 | 37.3647 | 25 | 55.0988 | 36.6227 | 25.9183 | 703.27 |  | 52.4767 | 2.0426 | -22.65 | 20.501 | 0.006328
154 | SIO | 13034 | 27 | 36 | 35.3872 | 25 | 50.1163 | 36.5898 | 25.8353 | 684.38 |  | 44.2207 | 1.8862 | -11.287 | 21.803 | 0.0022946
155 | SIO | 13022 | 84 | 36 | 33.7179 | 25 | 45.6441 | 36.562 | 25.7607 | 689 |  | 36.877 | 1.8895 | -15.301 | -17.582 | 0.0023537
156 | WHOI | 2013 | D31 | 36 | 32.2086 | 25 | 41.8315 | 36.5368 | 25.6972 | 292 |  | 30.5672 | 1.8076 | 2.038 | 3.2785 | 0.0027921
157 | SIO | 13025 | 32 | 36 | 29.213 | 25 | 34.1209 | 36.4869 | 25.5687 | 373.64 |  | 17.8057 | 1.6992 | -3.3495 | -7.6762 | 0.001938
158 | SIO | 13002 | 39 | 36 | 27.7274 | 25 | 30.2552 | 36.4621 | 25.5043 | 292.01 |  | 11.4304 | 1.6759 | 6.3159 | -16.851 | 0.0053389
160 | SIO | 13036 | 125 | 36 | 25.249 | 25 | 22.2762 | 36.4208 | 25.3713 | 380 |  | -1.2946 | 2.678 | -4.1541 | 14.994 | 0.0053466
161 | SIO | 13013 | 62 | 36 | 23.5477 | 25 | 18.9255 | 36.3925 | 25.3154 | 23 |  | -7.1515 | 1.9798 | 7.6145 | 7.7733 | 0.0031805
162 | WHOI | 240 | D56 | 36 | 22.5416 | 25 | 16.9695 | 36.3757 | 25.2828 | 254.31 |  | -10.6045 | 1.5821 | -8.2267 | 33.156 | 0.0031565
163 | SIO | 13043 | 74 | 36 | 22.0563 | 25 | 15.282 | 36.3676 | 25.2547 | 359.01 |  | -13.2643 | 1.8363 | -8.4524 | 11.492 | 0.0052046
164 | WHOI | 0125 | D06 | 36 | 21.0851 | 25 | 13.1978 | 36.3514 | 25.22 | 437.11 |  | -16.8287 | 1.5633 | 10.084 | 18.019 | 0.0033556
165 | SIO | 13031 | 78 | 36 | 20.4362 | 25 | 11.3927 | 36.3406 | 25.1899 | 472.38 |  | -19.7833 | 1.6476 | 5.0897 | 21.909 | 0.0041214
166 | SIO | 13004 | 34 | 36 | 19.6507 | 25 | 9.5284 | 36.3275 | 25.1588 | 499.92 |  | -22.9233 | 1.5721 | 4.1131 | 54.782 | 0.0030979
167 | SIO | SP124 | 14 | 36 | 18.7371 | 25 | 7.0868 | 36.3123 | 25.1181 | 522.87 |  | -26.9079 | 1.5991 | 39.013 | 29.654 | 0.003623
168 | SIO | SP61 | 07 | 36 | 17.8856 | 25 | 4.6311 | 36.2981 | 25.0772 | 541.4 |  | -30.8989 | 1.7083 | 37.111 | -28.059 | 0.0048817
169 | SIO | SP94 | 146 | 36 | 16.633 | 25 | 1.5569 | 36.2772 | 25.0259 | 513.4 |  | -36.0841 | 1.611 | -3.3429 | -25.732 | 0.0027107
170 | WHOI | 0236 | D25 | 36 | 15.1213 | 24 | 57.815 | 36.252 | 24.9636 | 446.18 |  | -42.3197 | 1.5207 | 14.363 | -20.567 | 0.0040552
171 | SIO | SP126 | 03 | 36 | 14.249 | 24 | 55.3488 | 36.2375 | 24.9225 | 445.74 |  | -46.3559 | 1.6882 | 0.46064 | 0.3491 | 0.0043984
172 | WHOI | 0111 | D10 | 36 | 13.0821 | 24 | 52.2024 | 36.218 | 24.87 | 882.8 |  | -51.5272 | 1.7859 | 5.3295 | -1.992 | 0.0035813
173 | SIO | 13026 | 111 | 36 | 34.9262 | 25 | 53.2873 | 36.5821 | 25.8881 | 618.73 | All channels noisey - poorly coupled?
174 | WHOI | 224 | D39 | 36 | 33.3437 | 25 | 49.1605 | 36.5557 | 25.8193 | 538.79 |  | 41.3307 | -0.9642 | 0.64108 | -9.803 | 0.0052861
175 | SIO | 13018 | 41 | 36 | 31.6122 | 25 | 44.3757 | 36.5269 | 25.7396 | 661 |  | 33.5175 | -0.80003 | -0.1586 | 14.46 | 0.0031762
176 | WHOI | 0239 | D26 | 36 | 28.6696 | 25 | 36.89 | 36.4778 | 25.6148 | 409.33 |  | 21.102 | -0.96213 | -3.1381 | 9.6303 | 0.0027833
177 | SIO | 13019 | 85 | 36 | 27.3406 | 25 | 33.2901 | 36.4557 | 25.5548 | 381.89 |  | 15.1979 | -0.90566 | -4.2104 | -9.1663 | 0.0039411
178 | SIO | 13027 | 72 | 36 | 26.0214 | 25 | 30.0729 | 36.4337 | 25.5012 | 207.31 |  | 9.8271 | -1.0396 | 6.3567 | 6.0015 | 0.0065137
179 | SIO | 13038 | 96 | 36 | 22.8649 | 25 | 23.8017 | 36.3811 | 25.3967 | 286.6 |  | -1.1316 | -2.3087 | 7.8419 | -4.1214 | 0.0031843
180 | WHOI | 246 | D29 | 36 | 22.2506 | 25 | 20.3369 | 36.3708 | 25.3389 | 22 | Noisey due to shallow water and also may have moved - recovered 200 ft east of deployment location
181 | SIO | SP204 | 108 | 36 | 21.0932 | 25 | 17.3433 | 36.3516 | 25.2891 | 379.05 |  | -11.254 | -1.1125 | -2.579 | 0.69962 | 0.0042082
182 | SIO | SP207 | 28 | 36 | 20.3813 | 25 | 15.3772 | 36.3397 | 25.2563 | 428.01 | Babcock 5/2/2016: A/D pegged, data exists for entire experiment but it is not useful — no useful data can be salvaged
183 | WHOI | 2190 | D90 | 36 | 19.8245 | 25 | 13.8018 | 36.3304 | 25.23 | 443.65 |  | -17.0086 | -0.95079 | 26.541 | 0.38169 | 0.0083098
184 | SIO | SP208 | 88 | 36 | 19.2214 | 25 | 12.5116 | 36.3204 | 25.2085 | 475.49 |  | -19.2299 | -1.1181 | 25.448 | 8.4136 | 0.002629
185 | SIO | 13039 | 115 | 36 | 18.756 | 25 | 11.0291 | 36.3126 | 25.1838 | 498.43 |  | -21.6165 | -0.9296 | 8.0453 | 17.416 | 0.0033658
186 | WHOI | 0245 | D18 | 36 | 18.1467 | 25 | 9.7027 | 36.3024 | 25.1617 | 515.65 |  | -23.8882 | -1.0799 | 10.657 | 28.275 | 0.0049488
187 | SIO | SP11 | 23 | 36 | 17.6281 | 25 | 8.1922 | 36.2938 | 25.1365 | 525.33 | Timebreak and buffer errors to be processed at SIO. Babcock 5/2/2016: CF card issues, data and timing not accurate — unlikely to recover any data
188 | WHOI | 0222 | D50 | 36 | 16.9709 | 25 | 6.7332 | 36.2828 | 25.1122 | 540.04 |  | -28.821 | -1.1507 | 19.705 | 1.295 | 0.0033314
189 | SIO | SP92 | 38 | 36 | 16.3437 | 25 | 4.9235 | 36.2724 | 25.0821 | 560.93 |  | -31.7618 | -1.055 | 19.33 | -27.012 | 0.003267
190 | WHOI | 0241 | D34 | 36 | 15.419 | 25 | 2.8869 | 36.257 | 25.0481 | 535.04 |  | -35.253 | -1.2708 | 13.453 | -18.142 | 0.0029121
191 | SIO | SP57 | 69 | 36 | 14.6279 | 25 | 0.6636 | 36.2438 | 25.0111 | 518.84 |  | -38.8869 | -1.1559 | 9.3408 | -24.219 | 0.004727
192 | SIO | SP65 | 50 | 36 | 13.9287 | 24 | 58.7364 | 36.2321 | 24.9789 | 451.46 |  | -42.0512 | -1.0797 | 2.7301 | -31.875 | 0.0060034
193 | SIO | SP78 | 103 | 36 | 12.4446 | 24 | 54.5065 | 36.2074 | 24.9084 | 813.54 |  | -48.9042 | -0.7924 | 40.755 | -17.072 | 0.0035821
* SIO Datalogger # that starts with SP is the older 4x4 style logger.