## Slide 1: Measuring Seismic Noise IRIS Metadata Workshop January 12, 2012 Peter Davis Project IDA Scripps Institution of Oceanography University of California, San Diego

## Slide 2
Calculating background noise:
  Remove mean and trend of time series

## Slide 5
Calculating background noise:
  Remove mean and trend of time series
  Apply a taper to reduce spectral leakage

## Slide 7
Types of data tapers (windows):
  Hanning
  Hamming
  Bartlett
  …

## Slide 12
Calculating background noise:
  Remove mean and trend of time series
  Apply a taper to reduce spectral leakage
  Compute the Fourier transform

## Slide 13
Calculating background noise:
  Remove mean and trend of time series
  Apply a taper to reduce spectral leakage
  Compute the Fourier transform
  Remove the instrument response

## Slide 14
Observations from 2002

## Slide 16
Ocean waves ->
Rayleigh waves

## Slide 17
Dominant period – 20 seconds
Conversion at coast to Rayleigh-type motion
Ocean waves -> Rayleigh waves
(Hasselmann, 1963)

## Slide 18
Ocean waves ->
P-waves

## Slide 19
Opposing wave motion
(Longuet-Higgins, 1952):
Interaction of standing waves with ocean bottom
reflection from a coast
wake of a moving storm
center of a storm
(Haubrich and McCamy, 1969)

## Slide 20
Temperature variations

## Slide 21
Temperature effects:
Beyond 250 seconds period, temperature becomes very important
Temperature dependence varies with the model of seismometer
Temperature changes of 1e-6 oC are important
Foam thermal insulation at GSN station in the UAE

## Slide 22
Effect of changes in barometric pressure:
  buoyancy of the seismometer mass
  Newtonian attraction of air mass

## Slide 23
STS1 placed under vacuum at GSN station SUR
Vacuum lost!

## Slide 24
(Zuern and Widmer, 1995)
Barometer data used to remove effect of air pressure changes in seismic data:

## Slide 25
Effect of changes in barometric pressure:
  buoyancy of the seismometer mass
  Newtonian attraction of air mass
  loading effect of air mass

## Slide 26
Change of air pressure in a cavity
Symmetric Case

## Slide 27
Change of air pressure in a cavity
Asymmetric Case

## Slide 28
(Sorrels, 1971)
KS-54000 borehole seismometer installed at WRAB GSN station

## Slide 29
Continuous free oscillations

## Slide 30
(Nishida and Kobayashi, 1999)

## Slide 31
Human-induced noise

## Slide 32
Examples of human-induced noise:
  Car and truck traffic
  Repeating machinery (pumps, generators)

## Slide 33
Frequency bands most effected by installation:

## Slide 34
http://www.iris.edu/servlet/quackquery/
IRIS DMC provides tools to analyze data

## Slide 35
Thank you!